## Version History
Version History
Version | Reason for Change | Created by | Release Date
1.0 | Initial Release | Liu Wang | 2025.08.01

## Mechanical
DNBSEQ-T7+ Device Master Records (DMR) - Mechanical Drawings
Parts Drawings
No. | Document Name | Document No.
1 | MM - Four Air Pump Bracket | M-011-003792-00
2 | MM - Biochemical Chuck Pneumatic Bracket | M-011-003791-00
3 | MM - Waste Liquid Collection Block | M-010-006802-00
4 | MM - Fluidics Tube Package - Fluidics Module | M-071-000755-00
5 | MM - Fluidics Stand Assembly | M-014-000605-00
6 | MM - Plunger Pump Mounting Baseplate | M-011-003795-00
7 | MM - Solenoid Valve Mounting Plate | M-011-003804-00
8 | MM - Syringe Pump Mounting Plate | M-011-003801-00
9 | MM - Peristaltic Pump Mounting Bracket | M-011-003800-00
10 | MM - Switching Valve Mounting Plate | M-011-003799-00
11 | MM - Diaphragm Pump Mounting Plate | M-011-003798-00
12 | MM - Fluidics Holder Body | M-011-003796-00
13 | MM - Waste Liquid Board Mounting Plate | M-011-003803-00
14 | MM - Fluidics Board Mounting Plate | M-011-003929-00
15 | MM - Optical Board Protective Cover | M-011-003864-00
16 | MM - Air Pump Bracket | M-011-003866-00
17 | MM - ImageChuck Pneumatic Component Bracket | M-014-000781-00
18 | MM - ImageChuck Pneumatic Main Bracket | M-011-004080-00
19 | MM - ImageChuck Mounting Plate | M-011-004079-00
20 | MM - Server Dynamic Pressure Block | M-010-006835-00
21 | MM - Server Constant Pressure Block | M-010-006836-00
22 | MM - Fluidics Module Access Panel - Right | M-011-003906-00
23 | MM - Barrel Door Hinge Adjustment Block - Middle | M-010-007370-00
24 | MM - Pipe Slot 3 | M-011-003826-00
25 | MM - Waste Liquid Discharge Block | M-010-007013-00
26 | MM - Reagent Compartment Decorative Strip 2 | M-010-006884-00
27 | MM - Waste Liquid Needle | M-010-006893-00
28 | MM - Rotary Valve Access Panel | M-011-004128-00
29 | MM - Pipe Slot 1 | M-011-003827-00
30 | MM - Camera Trunking 2 | M-011-003824-00
31 | MM - Waste Chip Pick-and-place Hopper | M-010-006831-00
32 | MM - Front Decorative Panel | M-011-004053-00
33 | MM - Barrel Door Hinge Adjustment Block - Both Sides | M-010-007371-00
34 | MM - Optical Port Installation Block | M-010-006847-00
35 | MM - Reagent Compartment Decorative Strip 3 | M-010-006883-00
36 | MM - Rotary Valve Mounting Parts | M-011-004099-00
37 | MM - Frame and Shell Sheet Metal Assembly | M-014-000783-00
38 | MM - Top Plate Module | M-014-000690-00
39 | MM - Top Water Tank Plug | M-010-006872-00
40 | MM - Water Cooling Liquid Filling Cover | M-011-003887-00
41 | MM - Top Plate Body | M-011-004097-00
42 | MM - Top Plate Protection Cotton | M-022-001308-00
43 | MM - Water Cooling Cover Shaft | M-010-007515-00
44 | MM - Rear Upper Door Assembly | M-014-000685-00
45 | MM - Optical Module Maintenance Door Lock | M-011-003891-00
46 | MM - Back Filter Cotton | M-022-001326-00
47 | MM - Rear Upper Door | M-014-000695-00
48 | MM - Optical Module Maintenance Door Panel Hinge Base 2 | M-010-006857-00
49 | MM - Rear Upper Door Panel | M-011-003889-00
50 | MM - Optical Module Maintenance Door | M-014-000688-00
51 | MM - Optical Module Maintenance Door Hinge | M-014-000686-00
52 | MM - Optical Module Maintenance Door Hinge Shaft | M-010-006866-00
53 | MM - Optical Module Maintenance Door Hinge B | M-010-006868-00
54 | MM - Optical Module Maintenance Door Hinge A | M-010-006867-00
55 | MM - Optical Machine Dust Removal Component | M-014-000689-00
56 | MM - Primary Effect Inposition Sensor Mounting Block | M-010-007756-00
57 | MM - Primary Effect Inposition Sensor Block | M-010-007755-00
58 | MM - Optical Module Dust Removal Outlet Sealing Ring | M-010-006870-00
59 | MM - Optical Module Dust Removal Shell | M-011-003894-00
60 | MM - Core Area Spring Pin | M-010-006874-00
61 | MM - Optical Module Dust Removal Fan Installation Rack | M-011-003896-00
62 | MM - Optical Module Dust Removal Air Network | M-011-003897-00
63 | T7 - Outlet Hole Seal | M-023-000041-00
64 | MM - Optical Module Maintenance Door Panel | M-014-000687-00
65 | MM - Optical Module Maintenance Door Panel Inner Sealing Plate | M-011-003892-00
66 | MM - Optical Module Maintenance Door Substrate | M-011-003893-00
67 | MM - Optical Module Maintenance Door Base Plate | M-010-006869-00
68 | MM - Electronic Keyhole Plug | M-012-001222-00
69 | MM - Rear Cotton Pressing Plate | M-011-004031-00
70 | MM - Rear Cotton Pressing Plate 2 | M-011-004032-00
71 | MM - Framework Module | M-014-000585-00
72 | MM - CAN Mounting Plate | M-011-003851-00
73 | MM - Chuck Trunking Cover Plate | M-011-003842-00
74 | MM - SBC Mounting Plate | M-011-003848-00
75 | MM - Fangtong Right Decorative Panel | M-011-003942-00
76 | MM - Fixed Block Placement Box | M-011-003844-00
77 | MM - Heat Sink Mounting Plate | M-011-003854-00
78 | MM - Speaker Base | M-011-003815-00
79 | MM - Decorative Panel Adjustment Fixing Block | M-010-007005-00
80 | MM - Frame Wire Duct 1 | M-011-003855-00
81 | MM - Hopper Bracket | M-011-003818-00
82 | MM - Photoelectric Sensor Mounting Plate | M-011-003817-00
83 | MM - Chuck Placement Stage | M-010-006837-00
84 | MM - Water Cooling Reservoir Left | M-011-003852-00
85 | MM - Power Fan Bracket | M-011-003841-00
86 | MM - Base Clip | M-010-006216-00
87 | MM - Fan Bracket | M-011-003850-00
88 | MM - Compartment Door Panel Protective Cover | M-011-003939-00
89 | MM - Fangtong Lower Decorative Panel | M-011-003941-00
90 | MM - Fiber Antifolding Plate | M-011-003846-00
91 | MM - Reagent Compartment Pressure Plate Module | M-014-000782-00
92 | MM - Reagent Compartment Pressure Plate Cover Plate | M-011-004081-00
93 | MM - Reagent Compartment Pressure Plate | M-010-007358-00
94 | MM - Cable Fixing Plate | M-011-003820-00
95 | MM - Fluidics Compartment Decorative Panel | M-011-003839-00
96 | MM - Sound Absorbing Cotton Mounting Plate 1 | M-011-003837-00
97 | MM - Server Windshield | M-011-003835-00
98 | MM - Optical Module Placement Stage | M-010-006838-00
99 | MM - Server Limit Block | M-010-006839-00
100 | MM - Rack Module | M-011-003849-00
101 | MM - Server Fan Bracket | M-011-003834-00
102 | MM - Interface Bracket | M-011-003822-00
103 | MM - Laser Mounting Plate | M-011-003843-00
104 | MM - Right Corner Sheet Metal | M-011-003940-00
105 | MM - Optical Module Reservoir Tray | M-011-003847-00
106 | MM - Fangtong Left Decorative Panel | M-011-003938-00
107 | MM - Chuck Baffle | M-011-003840-00
108 | MM - Reagent Compartment Fixing Block 1 | M-010-006841-00
109 | MM - Chuck Trunking | M-011-003845-00
110 | MM - Flow Cell Drive Base Positioning Plate | M-010-007302-00
111 | MM - Fluidics Compartment Hinge Fixing Block | M-010-007006-00
112 | MM - Right Water Cooling Reservoir | M-011-003853-00
113 | MM - Left Corner Sheet Metal | M-011-003943-00
114 | MM - Left Side Panel Module | M-014-000680-00
115 | MM - Side Panel Isolation Cotton 2 | M-022-001323-00
116 | MM - Left Side Door | M-014-000679-00
117 | MM - Left Side Panel | M-011-003884-00
118 | MM - Side Door Hinge Pad | M-010-007395-00
119 | MM - Side Panel Isolation Cotton 1 | M-022-001322-00
120 | MM - Side Panel Isolation Cotton 3 | M-022-001325-00
121 | MM - Side-Panel Water Cooling Isolation Cotton | M-022-001324-00
122 | MM - Rear Lower Door Module | M-014-000684-00
123 | MM - Rear Lower Filter Cotton 2 | M-022-001311-00
124 | MM - Rear Lower Cotton Pressing Plate 2 | M-011-004035-00
125 | MM - Rear Lower Filter Cotton 1 | M-022-001310-00
126 | MM - Rear Lower Door Base Plate | M-011-004033-00
127 | MM - Rear Lower Cotton Pressing Plate 3 | M-011-004036-00
128 | MM - Rear Lower Cotton Pressing Plate 1 | M-011-004034-00
129 | MM - Rear Lower Filter Cotton 3 | M-022-001309-00
130 | MM - Right Side Panel Module | M-014-000682-00
131 | MM - Flow Cell Retrieval Compartment Door Module | M-014-000683-00
132 | MM - Flow Cell Retrieval Suction Piece | M-011-003886-00
133 | MM - Flow Cell Compartment Door Mounting Plate | M-010-006863-00
134 | MM - Flow Cell Retrieval Compartment Door Hinge 2 | M-010-006860-00
135 | MM - Flow Cell Retrieval Compartment Door Limit Block | M-010-007761-00
136 | MM - Flow Cell Retrieval Compartment Door | M-010-006862-00
137 | MM - Flow Cell Retrieval Compartment Door Hinge 1 | M-010-006861-00
138 | MM - Right Side Door | M-014-000681-00
139 | MM - Right Side Panel | M-011-003885-00
140 | MM - Pipe Slot 2 | M-011-003828-00
141 | MM - 2U Server Fixation Parts - Left | M-011-003832-00
142 | MM - Server Sound Insulation Felt | M-022-001431-00
143 | MM - Reagent Compartment Decorative Strip 1 | M-010-006885-00
144 | MM - Front Door Switch Fixing Block | M-010-007372-00
145 | MM - Air Pump Fixing Block | M-011-003863-00
146 | MM - Right Waste Container Compartment Door Panel | M-010-006794-00
147 | MM - Left Waste Container Compartment Door Panel | M-010-006795-00
148 | MM - Camera Trunking 1 | M-011-003823-00
149 | MM - Waste Liquid Needle Mounting Plate | M-011-003819-00
150 | MM - Controller Baffle | M-011-004240-00
151 | MM - Fluidics Compartment Door Module | M-014-000767-00
152 | MM - Fluidics Compartment Door Fixing Block | M-010-007379-00
153 | MM - Fluidics Compartment Door | M-010-007380-00
154 | MM - Fluidics Compartment Door Hinge | M-010-006886-00
155 | MM - Fluidics Module Baffle - Left | M-011-003905-00
156 | MM - Flow Cell Drive Door Module | M-014-000770-00
157 | MM - Flow Cell Drive Button | M-010-007325-00
158 | MM - Flow Cell Drive Door Hinge Pressing Plate | M-010-007323-00
159 | MM - Flow Cell Drive Door Base | M-010-007327-00
160 | MM - Flow Cell Drive Door Bearing Pressure Plate | M-011-004072-00
161 | MM - Flow Cell Drive Door | M-011-004071-00
162 | MM - Flow Cell Drive Button Pressing Plate | M-010-007326-00
163 | MM - Flow Cell Drive Button Support | M-010-007324-00
164 | MM - Front Maintenance Door Module | M-014-000771-00
165 | MM - Front Maintenance Door Body | M-014-000772-00
166 | MM - Light Guide Strip | M-010-007396-00
167 | MM - Wiring Pressing Plate | M-011-004069-00
168 | MM - Light Strip Pressing Plate | M-011-004070-00
169 | MM - Front Door Fixing Plate | M-010-007322-00
170 | MM - Monitor Flip Module - Left | M-014-000697-00
171 | MM - Monitor Rotary Shaft Pressure Plate - Left | M-010-007331-00
172 | MM - Rotary Shaft Pressure Plate | M-011-004074-00
173 | MM - Rotary Shaft Pad | M-010-007332-00
174 | MM - Monitor Rotation Shaft - Left | M-010-007333-00
175 | MM - Monitor Flip Module - Right | M-014-000698-00
176 | MM - Monitor Rotary Shaft Pressure Plate - Right | M-010-007334-00
177 | MM - Monitor Rotation Shaft - Right | M-010-007335-00
178 | MM - Monitor Door Panel | M-014-000768-00
179 | MM - Monitor Back Cover | M-011-004068-00
180 | MM - Keyboard Tray | M-014-000777-00
181 | MM - Monitor Door Body | M-014-000769-00
182 | MM - USB Board Baffle | M-010-007321-00
183 | MM - Monitor Door Fixing Plate | M-011-003904-00
184 | MM - Hinge Module | M-014-000696-00
185 | MM - Front Door Hinge | M-010-007374-00
186 | MM - Hinge Rotary Shaft | M-010-007375-00
187 | MM - Front Door Hinge Seat | M-010-007376-00
188 | MM - Monitor Cable Tie Plate | M-010-007758-00
189 | MM - Right Front Door Module | M-014-000775-00
190 | MM - Front Door Limit Block Baffle | M-011-004073-00
191 | MM - Right Front Door Body | M-014-000776-00
192 | MM - Front Door Single Hinge Fixing Block | M-010-007397-00
193 | MM - Front Door Limit Block | M-010-007328-00
194 | MM - Left Front Door Module | M-014-000773-00
195 | MM - Left Front Door Body | M-014-000774-00
196 | MM - Round Clamping Connector 1 | M-010-007551-00
197 | MM - Light Source Mounting Plate 1 | M-010-007514-00
198 | MM - Round Clamping Gripper 1 | M-010-007552-00
199 | MM - Camera Support Arm | M-010-006238-00
200 | MM - Electric Claw Adapter Plate | M-010-006236-00
201 | MM - Camera Fixation Seat | M-010-006237-00
202 | MM - Optical Chuck Mapping Block | M-010-006230-00
203 | MM - Disc Counterweight Block | M-010-006234-00
204 | MM - Electric Claw Disc | M-010-006235-00
205 | MM - Spare Air Pump Component Bracket | M-011-003794-00
206 | MM - Controller Installation Module | M-014-000604-00
207 | MM - Controller Installation Panel | M-011-003787-00
208 | MM - Switch Mounting Plate | M-011-003786-00
209 | MM - Controller Installation Base Plate | M-011-003788-00
210 | MM - Controller Installation Cover | M-011-003931-00
211 | MM - Controller Installation Box | M-011-003789-00
212 | MM - Reagent Compartment Module | M-014-000579-00
213 | MM - Reagent Compartment Board Module | M-014-000581-00
214 | MM - Reagent Compartment PCB Fixing Board | M-011-003758-00
215 | MM - Board Card Wire-passing Sheet Metal | M-011-003759-00
216 | MM - Reagent Compartment Board Shell | M-011-003757-00
217 | MM - Drawer Module | M-014-000583-00
218 | MM - Sliding Rail Bracket | M-010-006730-00
219 | MM - Air Duct | M-011-003763-00
220 | MM - Gearbox Top Plate | M-010-006739-00
221 | MM - Drawer Side Panel | M-010-006738-00
222 | MM - Drawer Front RFID Bracket | M-010-006751-00
223 | MM - Drawer Right Side Panel | M-010-006735-00
224 | MM - Front Antenna Bracket | M-010-006752-00
225 | MM - Drawer Bottom Panel | M-010-006732-00
226 | MM - Drawer Panel | M-010-006749-00
227 | MM - Gear Shaft | M-010-006743-00
228 | MM - Drawer Cover | M-011-003761-00
229 | MM - Testing Gear Shaft | M-010-006747-00
230 | MM - MDA Pipe Stopper Rod | M-010-006757-00
231 | MM - RFID Antenna Bracket | M-010-006755-00
232 | MM - Compartment Door Lock Tongue | M-010-006753-00
233 | MM - In-Position Sensor Board | M-010-006756-00
234 | MM - Washing Cartridge Anti-slut | M-010-006731-00
235 | MM - Mixed Photoelectric End Cover | M-010-006742-00
236 | MM - Sliding Rail Cylinder Pin | M-010-006726-00
237 | MM - MDA Pipe Bottom Cover | M-010-006758-00
238 | MM - Drawer Crimping Plate | M-010-006750-00
239 | MM - RFID Board Cover | M-011-003927-00
240 | MM - Door Buckle Spacer | M-010-006748-00
241 | MM - Drawer Front Panel | M-010-006736-00
242 | MM - MDA Thermally Conductive Gasket (T-Global Technology) | M-021-001564-00
243 | MM - Wash RFID Antenna Bracket | M-010-006715-00
244 | MM - Drawer Front Baffle | M-010-006737-00
245 | MM - Antenna Cover 1 | M-010-006754-00
246 | MM - Rotating Shaft Floating Part | M-010-006744-00
247 | MM - Gearbox Base Plate | M-010-006740-00
248 | MM - Drawer Back Panel 1 | M-010-006734-00
249 | MM - MDA Radiator | M-010-006759-00
250 | MM - Make Temperature Control Block | M-010-006760-00
251 | MM - Mixing Photoelectric Fixing Block | M-010-006741-00
252 | MM - Kit Separator | M-010-006729-00
253 | MM - Mixing Motor Encoder Disc | M-010-006746-00
254 | MM - Drawer Rear Panel 2 | M-010-006733-00
255 | MM - Rotary Shaft Fixing Part | M-010-006745-00
256 | MM - Drawer Drag Chain Sheet Metal | M-011-003762-00
257 | MM - Reagent Needle Lifting Module | M-014-000580-00
258 | MM - Buffer Pad | M-010-006714-00
259 | MM - Top Pipe Sheet Metal | M-011-003750-00
260 | MM - Spring Needle Guide Axis | M-010-006710-00
261 | MM - Reagent Needle Motor Pillar | M-010-006701-00
262 | MM - Wash Pump Sheet Metal | M-011-003753-00
263 | MM - Reagent Needle Photoelectric Baffle | M-011-003751-00
264 | MM - Mixing Valve Body Plate | M-011-003749-00
265 | 0.762 * 3.2TA1 MM - Primer Reagent Needle | M-071-000814-00
266 | 0.762 * 3.2TA1 MM - Sequencing Reagent Needle Module | M-071-000815-00
267 | 0.762 * 3.2TA1 MM - Packaged Reagent Needle Module | M-071-000816-00
268 | MM - 6-40 Three-way Connector | M-010-006711-00
269 | MM - Wash Collection Block 1 | M-010-006707-00
270 | MM - Wash Collection Block 2 | M-010-006706-00
271 | MM - Upper Reagent Needle Photoelectric Baffle | M-011-003752-00
272 | MM - Guide Pin Bearing Sleeve | M-010-006716-00
273 | MM - Solenoid Valve Drag Chain Sheet Metal | M-011-003755-00
274 | MM - Reagent Needle Support Plate | M-010-006703-00
275 | MM - Kit Guide Pin | M-010-006713-00
276 | MM - Top Wire Binding Sheet Metal | M-010-006700-00
277 | MM - Shaft Sleeve Buffer Pad | M-010-006704-00
278 | MM - Sequencing Needle Bearing Seat | M-010-006708-00
279 | MM - Lower Reagent Needle Photoelectric Gasket | M-010-006712-00
280 | MM - Reagent Needle Push Plate | M-010-006705-00
281 | 1.6 x3.2SUS316L MM - Pure Water Reagent Needle | M-071-000817-00
282 | MM - Z1 Transport Fixed Sheet Metal | M-011-003756-00
283 | MM - Reagent Needle Support Top Plate | M-010-006702-00
284 | MM - Solenoid Valve Drag Chain Sheet Metal 1 | M-011-003754-00
285 | MM - Reagent Compartment Fluidics Lines Package | M-071-000756-00
286 | MM - Make YZ Module | M-014-000584-00
287 | MM - Z-axis Buffer Block | M-010-006768-00
288 | MM - Z-axis Hose Bracket | M-011-003765-00
289 | MM - Y-axis Motor Mounting Plate | M-010-006772-00
290 | MM - YZ-axis Fixing Block | M-010-006762-00
291 | MM - Z-axis Photoelectric Mounting Sheet | M-011-003768-00
292 | MM - Y-axis Drag Chain Bracket | M-011-003772-00
293 | MM - Z-axis Nut Holder | M-010-006766-00
294 | MM - Postload Needle | M-071-000803-00
295 | MM - Make Needle | M-071-000802-00
296 | MM - Z-axis Motor Mounting Plate | M-010-006769-00
297 | MM - Y-axis Drag Chain Joint Metal | M-011-003769-00
298 | MM - Sheath Pressing | M-010-006764-00
299 | MM - Y-axis Nut Holder | M-010-006770-00
300 | MM - Y-axis Photoelectric Baffle | M-011-003771-00
301 | MM - Y-axis Screw Support Side | M-010-006773-00
302 | MM - Linear Bearing Seat | M-010-006763-00
303 | MM - Bearing Pressure Ring | M-011-003764-00
304 | MM - Sampling Needle Guide Shaft | M-010-006765-00
305 | MM - Z-axis Backplate | M-010-006767-00
306 | MM - Y-axis Mounting Plate | M-010-006771-00
307 | MM - Z-axis Pipe Clamp Sheet Metal 1 | M-011-003766-00
308 | MM - Z-axis Sheath Pressure Plate | M-010-006761-00
309 | MM - Z-axis Photoelectric Baffle | M-011-003767-00
310 | MM - Reagent Compartment Bottom Plate Module | M-014-000582-00
311 | MM - Unlock Cover | M-010-006719-00
312 | MM - Electronic Lock Baffle | M-011-003928-00
313 | MM - Reagent Compartment Rear Sheet Metal | M-011-003760-00
314 | MM - Reagent Compartment Fixing Block | M-010-006724-00
315 | MM - Reagent Compartment Lock Fixing Block | M-010-006717-00
316 | MM - Reagent Compartment Side Panel | M-010-006725-00
317 | MM - Reagent Compartment Bottom Plate | M-010-006723-00
318 | MM - Compartment Door In-Position Bracket | M-010-006722-00
319 | MM - Unlock Crossbar | M-010-006720-00
320 | MM - Make Antenna Pressing Block | M-010-006728-00
321 | MM - Unlock Slot | M-010-006721-00
322 | MM - Unlock Vertical Rod | M-010-006718-00
323 | MM - Make Antenna Bracket | M-010-006727-00
324 | MM - Fluidics Tube Package - Connection Between Modules | M-071-000758-00
325 | MM - Water Cooling Module AB | M-014-000735-00
326 | MM - Water Cooling Module Installation Rack AB | M-011-003925-00
327 | MM - Water Tank Mounting Plate | M-011-003574-00
328 | MM - Acrylic Water Tank AB | M-012-001232-00
329 | MM - Top Air Duct Cotton AB | M-012-001230-00
330 | Water Pump Flat Gasket | M-012-001296-00
331 | MM - Quick Connector | M-010-007390-00
332 | MM - Water Cooling Module CD | M-014-000736-00
333 | MM - Acrylic Water Tank CD | M-012-001233-00
334 | MM - Top Air Duct Cotton CD | M-012-001235-00
335 | MM - Water Cooling Module Installation Rack CD | M-011-003926-00
336 | MM - Power Bracket Module | M-014-000666-00
337 | MM - Power Bracket | M-011-003861-00
338 | MM - Power Supply Mounting Plate | M-011-003862-00
339 | MM - Coil Tube Cover | M-010-006222-00
340 | MM - Coil Tube Pressure Plate 1 | M-010-007752-00
341 | MM - PCR Left Cable Cover | M-010-006200-00
342 | MM - PCR Right Cable Cover | M-010-006199-00
343 | MM - Coil Tube Heating Plate | M-010-007751-00
344 | MM - PCR Liquid Collection Reservoir | M-010-006202-00
345 | MM - PCR Water Cooling Plate | M-010-006201-00
346 | MM - Mechanical Clamping Module | M-014-000516-00
347 | MM - Pressing Base | M-010-006211-00
348 | MM - Transfer Spur Gear | M-010-006263-00
349 | MM - Clamping Rotary Shaft | M-010-006213-00
350 | MM - Spur Gear Claw | M-010-006262-00
351 | MM - Compression Bar | M-010-006229-00
352 | MM - Compression Claw | M-010-006228-00
353 | MM - Motor Clamping Base | M-010-006212-00
354 | MM - Gear Clamping Shaft | M-010-006214-00
355 | MM - Pressing Code Disc | M-010-007394-00
356 | MM - Spur Gear Motor | M-010-006261-00
357 | MM - Manifold Module | M-014-000504-00
358 | MM - Positioning Pin Limit Plate | M-010-006217-00
359 | MM - FC Locating Pin | M-010-006224-00
360 | MM-Manifold | M-012-001132-00
361 | MM - Injection Head | M-010-006218-00
362 | MM - Pin Top Core | M-010-006226-00
363 | MM - Injection Head Sealing Pad | M-012-001134-00
364 | MM - Vacuum Tube Elbow | M-010-006223-00
365 | MM - PT100 installation piece | M-010-006203-00
366 | MM - TEC Filler Sheet | M-010-006645-00
367 | MM - TEC Filling Strip | M-010-006206-00
368 | MM - Screw Insulation Sleeve | M-010-006225-00
369 | MM - TEC Outlet Pressure Plate | M-010-006205-00
370 | MM - Adsorption Plate | M-010-006215-00
371 | MM - Chuck Water Cooling Plate | M-010-006198-00
372 | MM - Chuck Base | M-010-006197-00
373 | MM - PCB Mounting Plate | M-011-003554-00
374 | MM - Flow Cell Drive Module | M-014-000801-00
375 | MM - Flow Cell Drive Module Fixing Block | M-011-004126-00
376 | MM - Flow Cell Drive Placement Board | M-010-007600-00
377 | MM - Wheel Washer | M-010-007613-00
378 | MM - Flow cell Drive Motor Fixation Plate | M-010-007606-00
379 | MM - Bearing Shaft | M-010-007611-00
380 | MM - Flow cell drive Tray Support Plate - Right | M-010-007612-00
381 | MM - Flow Cell Drive Induction Board | M-011-004127-00
382 | MM - Flow Cell Drive Sensor Bracket | M-011-004124-00
383 | MM - Flow Cell Drive Sensor Installation Block | M-011-004123-00
384 | MM - Belt Pressure Plate 1 | M-010-007609-00
385 | MM - Flow Cell Drive Side Baffle | M-011-004125-00
386 | MM - Flow Cell Drive Antenna Fixing Block | M-010-007601-00
387 | MM - Flow Cell Drive Tray Support Plate - Left | M-010-007608-00
388 | MM - Flow Cell Drive Board Fixing Sheet Metal | M-011-004122-00
389 | MM - Bearing Shaft 2 | M-010-007605-00
390 | MM - Flow Cell Drive Hard Limit Block 2 | M-010-007602-00
391 | MM - Flow Cell Drive Hard Limit Block 1 | M-010-007607-00
392 | MM - Bearing Seat | M-010-007603-00
393 | MM - Belt Pressing Plate 2 | M-010-007610-00
394 | MM - Flow Cell Drive Bottom Panel | M-010-007604-00
395 | MM - Waste Container Compartment | M-014-000586-00
396 | MM - Waste Container Compartment Door Panel Adjustment Plate | M-011-003933-00
397 | MM - Waste Container Compartment Lock Fixation Seat | M-010-007753-00
398 | MM - Waste Container Compartment Buffer Pad | M-010-007754-00
399 | MM - Waste Container Compartment Lock Cover | M-011-004236-00
400 | MM - Waste Container Compartment Skateboard | M-011-004235-00
401 | MM - Waste Container Compartment Body | M-011-003784-00
402 | MM - Waste Container Compartment Bucket Drawer | M-011-003783-00
403 | MM - Waste Container Compartment Bearing Plate Cover | M-011-003785-00
404 | MM - Waste Container Compartment Bucket Bearing Plate | M-010-006796-00
405 | MM - Sequencing Reagent Cartridge Base | M-012-001098-00
406 | MM - Make Reagent Cartridge Module | M-014-000511-00
407 | MM - Make Mix Tube | M-012-001106-00
408 | MM - Make Tube Plug | M-012-001113-00
409 | MM - MDA Mix Tube | M-012-001114-00
410 | MM - Make Reagent Cartridge Frame | M-012-001104-00
411 | MM - MDA Tube Plug | M-012-001112-00
412 | MM - Make Insert Box Cover | M-012-001105-00
413 | MM - Primer Insert | M-012-001111-00
414 | T7 - Bottle Cap Gasket Integrated Cleaning Bottle (small) | M-091-000089-00
415 | T7 - Integrated Cap For Small Cleaning Reagent Bottle (blue) | M-091-000589-00
416 | MM - Postload Insert Cover | M-012-001102-00
417 | T7 - Wash Bottle Cap Gaskets Integrated (large) | M-091-000090-00
418 | MM - Reagent Bottle 175 mL | M-012-001096-00
419 | MM - Primer Insert Box Cover | M-012-001093-00
420 | MM - Sequencing Insert | M-012-001101-00
421 | MM - Postload Insert | M-012-001103-00
422 | MM - Reagent Bottle 450 mL | M-012-001095-00
423 | MM - Sequencing Insert Box Cover | M-012-001099-00
424 | MM - Reagent Eccentric Bottle 425 mL | M-012-001097-00
425 | MM - Sequencing Insert Cover | M-012-001100-00
426 | MM - Wash Cartridge Lid | M-012-001092-00
427 | MM - Wash Bottle 60 mL | M-012-001089-00
428 | MM - Wash Flat Bottle 480 mL | M-012-001090-00
429 | MM - Wash Bottle 2500 mL | M-012-001091-00
430 | MM - Primer Insert Base | M-010-007682-00
431 | MM - ImageChuck Learning Flow Cell | M-010-007680-00
432 | Power Meter Probe Holder | M-011-004101-00
433 | MM - T Axis Fixing Block | M-011-003555-00
434 | MM - Waste Container Body | M-012-001055-00
435 | MM - Make Insert Base | M-010-007681-00
436 | MM - Inner and Outer Door Isolation Cotton | M-022-001394-00
437 | MM - Monitor Transport Fixing Block | M-010-007513-00
438 | MM - Electric Claw Fixing Block | M-011-003556-00
439 | MM - ImageChuck Module | M-014-000528-00
440 | MM - Chuck Limit Block | M-010-007320-00
441 | MM - Limit Head | M-010-006256-00
442 | MM - ImageChuck Adsorption Plate | M-010-006258-00
443 | MM - ImageChuck - Tilting Table | M-010-001197-00
444 | MM - ImageChuck Base | M-010-001198-00
445 | MM - Quick-change Nut | M-010-001199-00
446 | T7 - ImageChuck Spherical Washer | M-010-001200-00
447 | T7 - ImageChuck Spacer | M-010-001201-00
448 | T7 - ImageChuck Small Ejector Pin, Groove Type | M-010-001205-00
449 | T7 - ImageChuck Small Ejector Pin (Cone) | M-010-001257-00
450 | T7 - ImageChuck Conical Frustum | M-010-006259-00
451 | T7 - Flow Cell Stage Buckle | M-010-006255-00
452 | T7 - M3 Clamping Screw | M-010-006257-00
453 | MM - Flow Cell Plastic Clamshell | M-012-001316-00
454 | Mammoth FCL Glass Cover Plate | M-095-000081-00
455 | MM - FCL Groove Type Cut Piece (by Knife Wheel) | M-095-000084-00
456 | MM - Flow Cell RFID Label | M-021-001712-00
457 | MM - Sealing Ring of Flow Cell Frame | M-012-001310-00
458 | MM - 1.0 Wafer | M-095-000070-00
459 | MM - Large Flow Cell Frame | M-012-001309-00
460 | Mammoth Objective Lens Support Foam | M-022-001408-00
461 | Mammoth Camera Front and Rear Adjustment Seat | M-010-006329-00
462 | Mammoth Camera G Bracket | M-010-006324-00
463 | Mammoth Camera Up and Down Adjustment Component | M-010-006330-00
464 | Mammoth Camera Left and Right Adjustment Seat | M-010-006302-00
465 | Mammoth Camera Rotation Adjustment Component | M-010-006332-00
466 | Mammoth Camera Base | M-010-006328-00
467 | Mammoth Camera Fixing Plate | M-010-006327-00
468 | Mammoth Camera Up and Down Adjustment Stud M6X0.5 | M-010-006331-00
469 | Mammoth Camera T-Module Fixing Plate | M-010-006325-00
470 | Mammoth Camera Adjustment Stud | M-010-006326-00
471 | Mammoth Camera Up and Down Adjustment Seat | M-010-006344-00
472 | Mammoth Camera T-Module Left and Right Adjustment Seat | M-010-006301-00
473 | Mammoth Locking Sheet Metal Block for Optical Module_2.0 | M-011-003593-00
474 | Mammoth Frame Mounting Elbow | M-010-006270-00
475 | Mammoth Lower Frame for Optical Module_2.1 | M-013-000012-00
476 | Mammoth Dual Isolator Cover | M-010-006273-00
477 | Mammoth Dual Isolator Cup | M-010-006271-00
478 | Mammoth Honeycomb Board | M-010-006279-00
479 | Mammoth Frame Mounting Plate_2.0 | M-010-006280-00
480 | Mammoth Dual Isolator Inner Board | M-010-006272-00
481 | Mammoth Objective Lens Tilt Adjustment Block | M-010-006274-00
482 | Mammoth Objective Lens Adjustment Tapered-hole Pin | M-010-006277-00
483 | Mammoth Objective Lens Adjustment Groove Type Column | M-010-006276-00
484 | Mammoth Objective Lens Adjustment Plane Column | M-010-006275-00
485 | Mammoth Reflector Fine-tuning Seat | M-010-006298-00
486 | Mammoth Rotation Adjustment Auxiliary Block 90°_0.4 | M-010-006333-00
487 | Mammoth Fixation Frame for Dichroic Mirror with High Reflection at A and High Transmission at T | M-010-006292-00
488 | Mammoth Fixation Frame for Dichroic Mirror with High Reflection at G and High Transmission at C | M-010-006293-00
489 | Mammoth Reflector Fixing Block | M-010-006296-00
490 | Mammoth Fixation Frame for Dichroic Mirror with High Reflection for Laser and High Transmission for Fluorescence | M-010-006294-00
491 | Mammoth Fixation Frame for Dichroic Mirror with High Reflection at AT and High Transmission at CG | M-010-006291-00
492 | Mammoth Fixation Frame for Dichroic Mirror with High Reflection for Laser and High Transmission for AF | M-010-006350-00
493 | Mammoth Vertical Adjustment Block of Reflector | M-010-006295-00
494 | Mammoth Dichroic Mirror Adapter Block_0.6 | M-010-006323-00
495 | Mammoth Filter Frame | M-010-006309-00
496 | Mammoth Horizontal Adjustment Block of Reflector | M-010-006297-00
497 | Mammoth Linear Adjustment Auxiliary Block_0.5 | M-010-006339-00
498 | Mammoth Y-axis Adjustment Auxiliary Block for Illumination Component_0.4 | M-010-006336-00
499 | Mammoth XY-axis Adjustment Block for Illumination Component_0.5 | M-010-006347-00
500 | Mammoth Spectroscopy Component Support | M-010-006299-00
501 | Mammoth Illumination Prism and Aperture Stop Holder | M-010-006306-00
502 | Mammoth Illumination Filter Base_0.2 | M-010-006307-00
503 | Mammoth Column Lens 12 Fixation Seat-1 | M-010-006352-00
504 | Mammoth Cylindrical Holder for Illumination Prism | M-010-006319-00
505 | Mammoth Illumination Baffle - R | M-011-003598-00
506 | Mammoth Coupling Mirror Module Bracket - R | M-010-006353-00
507 | Mammoth Reflector Cover - R | M-011-003597-00
508 | Mammoth Illumination Fixation Seat - 22X20 | M-010-006337-00
509 | Mammoth XY-axis Adjustment Press Block for Illumination Component_0.5 | M-010-006348-00
510 | Mammoth Column Lens 12 Fixation Seat-2 | M-010-006345-00
511 | Shoulder Screw for Limit Shaft 3X5XM2.5X3 | M-010-006351-00
512 | Mammoth Optical Fiber Support Frame_0.2 | M-011-003601-00
513 | Mammoth Illumination Aperture_0.2 | M-010-006305-00
514 | Mammoth XY-axis Adjustment Fixation Seat for Illumination Component_0.4 | M-010-006346-00
515 | FCAPC Optical Fiber Connector S05FCA Rotate | M-010-006349-00
516 | Mammoth AF Bracket | M-010-006281-00
517 | Mammoth Reflector Bracket | M-010-006282-00
518 | Mammoth Benchmark Support - Flange_240205 | M-010-006283-00
519 | Mammoth Optical Module Shield -0.2 | M-011-003596-00
520 | Mammoth Optical Module Rear Cover Plate 1 | M-011-003594-00
521 | Mammoth Cylinder Lens Light Shield | M-010-006284-00
522 | Mammoth Optical Module Front Cover Plate -0.2 | M-011-003595-00
523 | V8_LED Board | M-055-000071-00
524 | AF Base Plate | M-010-000218-00
525 | AF Right Angle Prism Holder | M-010-000219-00
526 | AF-LED Heat Sink | M-010-000220-00
527 | AF Cylinder Lens Small Clamping Frame | M-010-000221-00
528 | PD Regulating Board | M-010-000222-00
529 | AF Cover Plate | M-010-000223-00
530 | AF Side Small Access Panel | M-010-000225-00
531 | AF Filter Holder | M-010-000226-00
532 | Cylinder Lens Spacer | M-010-000231-00
533 | Cylinder Lens Pressure Ring | M-010-000232-00
534 | AF Straight Lens Tube L84 | M-010-001402-00
535 | Objective Lens Tilt Adjustment Spacer | M-010-006649-00
Packaging Engineering Document
No. | Document Name | Document No.
1 | MM - Packaging Accessories - Carton | M-022-001366-00
2 | MM - Lockable Joint Plywood Box | M-022-001348-00
3 | Refrigerant Packaging Module | M-022-000151-00
Silkscreen Engineering Document
No. | Document Name | Document No.
1 | MM - Silkscreen on Waste Liquid Discharge Block | M-010-007013-01
2 | MM - Silkscreen on Front Decorative Panel | M-011-004053-01
3 | MM - Silkscreen on Interface Bracket | M-011-003822-01
4 | MM - Silkscreen on Flow Cell Retrieval Compartment | M-010-006862-01
5 | MM - Silkscreen on Flow Cell Drive Button | M-010-007325-01
6 | MM - Silkscreen on Flow Cell Drive Door Base | M-010-007327-01
7 | MM - Silkscreen on Front Maintenance Door Body | M-014-000772-01
8 | MM - Silkscreen on Keyboard Tray | M-014-000777-01
9 | MM - Silkscreen on Monitor Door Body | M-014-000769-01
10 | MM - Silkscreen on Right Front Door Body | M-014-000776-01
11 | MM - Silkscreen on Left Front Door Body | M-014-000774-01
12 | MM - Silkscreen on Primer Insert Box Cover | M-012-001093-01
13 | MM - Silkscreen on Sequencing Insert Box Cover | M-012-001099-01
14 | MM - Silkscreen on Washing Cartridge Lid | M-012-001092-01
15 | MM - Silkscreen in Chinese on Lockable Joint Plywood Box | M-022-001348-01
Connection Scheme
No. | Document Name | Document No.
1 | Mammoth Electrical Connection Diagram | N-510-003935-00-01
Label Document
No. | Document Name | Document No.
1 | T7 - Laser Hazard Label | M-021-000863-00
2 | Grounding Label | M-021-000007-00
3 | High Voltage Warning Label | M-021-000012-00
4 | Biological Hazard Label | M-021-000010-00
5 | High Temperature Warning Label | M-021-000009-00
6 | Exclamation Mark Warning Label | M-021-000013-00
7 | 2000-FDA Laser Label | M-021-000862-00
8 | T7 - Anti-tilt Label | M-021-000746-00
9 | T7 - Anti-vibration Label (Yellow) | M-021-000801-00
10 | NEX - Device Status Management Identifier_CN | M-021-000846-00
11 | MM - DNBSEQ-T7+RS Host Label_CN | M-021-001723-00
12 | MM - DNBSEQ-T7+RS Outer Packaging Label_CN | M-021-001718-00
13 | MM - DNBSEQ-T7+RS Host Label_EN | M-021-001721-00
14 | MM - DNBSEQ-T7+RS Outer Packaging Label_EN | M-021-001725-00
15 | MM - DNBSEQ-T7+RS Host Label_CE | M-021-001722-00
16 | MM - DNBSEQ-T7+RS Outer Packaging Label_CE | M-021-001720-00
17 | MM - DNBSEQ-T7+RS Host Label_CG | M-021-001719-00
18 | MM - DNBSEQ-T7+RS Outer Packaging Label_CG | M-021-001726-00
19 | MM - Host Label for Exhibition Machine_CN | M-021-001716-00
20 | MM - Outer Packaging Label for Exhibition Machine_CN | M-021-001724-00
21 | MM - Host Label for Exhibition Machine_EN | M-021-001727-00
22 | MM - Outer Packaging Label for Exhibition Machine_EN | M-021-001717-00

## Wire
DNBSEQ-T7+ Device Master Records - Wire
No. | Owner | Name | Document No.
1 | Chen Leshu | Mammoth Fluidics Board J6 | M-034-005549-00
2 | Chen Leshu | Mammoth Fluidics Board J7 | M-034-005550-00
3 | Chen Leshu | Mammoth Fluidics Board J8 | M-034-005551-00
4 | Chen Leshu | Mammoth Fluidics Board Power Extension Cable | M-034-005708-00
5 | Chen Leshu | Mammoth Waste Liquid Board Power Extension Cable | M-034-005709-00
6 | Chen Leshu | Mammoth CAN for Waste Liquid Board - Fluidics Board | M-034-005575-00
7 | Chen Leshu | Mammoth Waste Liquid Board CAN | M-034-005576-00
8 | Chen Leshu | Mammoth Motor Board Power Cord | M-034-005555-00
9 | Chen Leshu | Mammoth Motor Board-J6 | M-034-005556-00
10 | Chen Leshu | Mammoth Motor Board-J7 | M-034-005557-00
11 | Chen Leshu | Mammoth Reagent Compartment J12-PT100 | M-034-005558-00
12 | Chen Leshu | Mammoth Reagent Compartment J13-TEC | M-034-005559-00
13 | Chen Leshu | Mammoth Reagent Compartment J14 | M-034-005560-00
14 | Chen Leshu | Mammoth Reagent Compartment J15 - Solenoid Valve | M-034-005561-00
15 | Chen Leshu | Mammoth Motor Board CAN | M-034-005580-00
16 | Chen Leshu | Mammoth Reagent Compartment RFID Cable | M-034-005615-00
17 | Chen Leshu | Mammoth Optical Board J10 | M-034-005530-00
18 | Chen Leshu | Mammoth Optical Board J11 | M-034-005531-00
19 | Chen Leshu | Mammoth Optical Board J7 | M-034-005532-00
20 | Chen Leshu | Mammoth Camera Data Cable-A | M-034-005533-00
21 | Chen Leshu | Mammoth Camera Data Cable-C | M-034-005534-00
22 | Chen Leshu | Mammoth Camera Data Cable-G | M-034-005535-00
23 | Chen Leshu | Mammoth Camera Data Cable-T | M-034-005536-00
24 | Chen Leshu | Mammoth TZ-axis Power Cable | M-034-005518-00
25 | Chen Leshu | Mammoth TZ-axis Encoder Cable | M-034-005519-00
26 | Chen Leshu | Mammoth T-axis Encoder Module | M-034-005520-00
27 | Chen Leshu | Mammoth XY-axis Power Cable | M-034-005521-00
28 | Chen Leshu | Mammoth XY-axis Encoder Cable | M-034-005522-00
29 | Chen Leshu | Mammoth X-axis Encoder Module | M-034-005523-00
30 | Chen Leshu | Mammoth Y-axis Encoder Module | M-034-005524-00
31 | Chen Leshu | Mammoth Z-axis Encoder Module | M-034-005525-00
32 | Chen Leshu | Mammoth Gripper Serial Cable | M-034-005526-00
33 | Chen Leshu | Mammoth Gripper Connection Cable | M-034-005527-00
34 | Chen Leshu | Mammoth AF Signal Cable | M-034-005528-00
35 | Chen Leshu | Mammoth ACS-48V Integrated Power Cord | M-034-005617-00
36 | Chen Leshu | Mammoth ACS-LAN Extension Cable | M-034-005618-00
37 | Chen Leshu | Mammoth ACS Integrated Power Cord | M-034-005619-00
38 | Chen Leshu | Mammoth ACS Network Cable | M-034-005620-00
39 | Chen Leshu | Mammoth AF Integrated Signal Cable | M-034-005621-00
40 | Chen Leshu | Mammoth LED Control Signal Cable | M-034-005622-00
41 | Chen Leshu | Mammoth TZ-axis Integrated Power Cable | M-034-005623-00
42 | Chen Leshu | Mammoth TZ-axis Integrated Encoder Cable | M-034-005624-00
43 | Chen Leshu | Mammoth XY-axis Integrated Power Cable | M-034-005625-00
44 | Chen Leshu | Mammoth XY-axis Integrated Encoder Cable | M-034-005626-00
45 | Chen Leshu | Mammoth Module Motor Cable | M-034-005627-00
46 | Chen Leshu | Mammoth ACS Motion Network Cable | M-034-005710-00
47 | Chen Leshu | Mammoth-PM-ACS-48V | M-034-005711-00
48 | Chen Leshu | Mammoth-PM-J14-A | M-034-005712-00
49 | Chen Leshu | Mammoth-PM-J15-B | M-034-005713-00
50 | Chen Leshu | Mammoth PM-J16 Heat Sink | M-034-005714-00
51 | Chen Leshu | Mammoth PM-J17 Optical Board | M-034-005715-00
52 | Chen Leshu | Mammoth-PM-J18-C | M-034-005716-00
53 | Chen Leshu | Mammoth-PM-J19-D | M-034-005717-00
54 | Chen Leshu | Mammoth-PM-J20-ACS | M-034-005718-00
55 | Chen Leshu | Mammoth-PM-J21-SBC | M-034-005719-00
56 | Chen Leshu | Mammoth PM-J22 - Camera AT | M-034-005720-00
57 | Chen Leshu | Mammoth PM-J23 - Monitor 12 V | M-034-005968-00
58 | Chen Leshu | Mammoth PM-J24 - Camera CG | M-034-005722-00
59 | Chen Leshu | Mammoth-PM-J26-TEC-D | M-034-005723-00
60 | Chen Leshu | Mammoth-PM-J27-TEC-C | M-034-005724-00
61 | Chen Leshu | Mammoth-PM-J28-TEC-A | M-034-005725-00
62 | Chen Leshu | Mammoth-PM-J29-TEC-B | M-034-005726-00
63 | Chen Leshu | Mammoth PM-J33 - Laser | M-034-005728-00
64 | Chen Leshu | Mammoth Flow Cell Drive RFID Cable | M-034-005616-00
65 | Chen Leshu | Mammoth Audio Board Signal Cable | M-034-005729-00
66 | Chen Leshu | Mammoth Compartment Door Panel J6 | M-034-005553-00
67 | Chen Leshu | Mammoth Heat Sink A-J3 | M-034-005588-00
68 | Chen Leshu | Mammoth Heat Sink A-J4 | M-034-005589-00
69 | Chen Leshu | Mammoth Heat Sink B-J3 | M-034-005590-00
70 | Chen Leshu | Mammoth Heat Sink A-J2 | M-034-005730-00
71 | Chen Leshu | Mammoth Heat Sink A-J5 | M-034-005731-00
72 | Chen Leshu | Mammoth Heat Sink A-J6 | M-034-005732-00
73 | Chen Leshu | Mammoth Heat Sink B-J2 | M-034-005733-00
74 | Chen Leshu | Mammoth Heat Sink B-J6 | M-034-005734-00
75 | Chen Leshu | Mammoth Fan Extension Cable | M-034-005866-00
76 | Chen Leshu | Mammoth Centrifugal Fan Extension Cable | M-034-005867-00
77 | Chen Leshu | Mammoth Chuck Board-J5 - Rotary Valve | M-034-005735-00
78 | Chen Leshu | Mammoth Chuck Board A-J2 - Pneumatic Component | M-034-005736-00
79 | Chen Leshu | Mammoth Chuck Board A-J3 - Water Cooling Component | M-034-005737-00
80 | Chen Leshu | Mammoth Chuck Board B-J2 - Pneumatic Component | M-034-005738-00
81 | Chen Leshu | Mammoth Chuck Board B-J3 - Water Cooling Component | M-034-005739-00
82 | Chen Leshu | Mammoth Chuck Board C-J2 - Pneumatic Component | M-034-005740-00
83 | Chen Leshu | Mammoth Chuck Board C-J3 - Water Cooling Component | M-034-005741-00
84 | Chen Leshu | Mammoth Chuck Board D-J2 - Pneumatic Component | M-034-005742-00
85 | Chen Leshu | Mammoth Chuck Board D-J3 - Water Cooling Component | M-034-005743-00
86 | Chen Leshu | Mammoth AC Power Cord | M-034-005537-00
87 | Chen Leshu | Mammoth Switch Power Cord | M-034-005542-00
88 | Chen Leshu | Mammoth AC Board-BCS | M-034-005543-00
89 | Chen Leshu | Mammoth 12 V Power Cord | M-034-005545-00
90 | Chen Leshu | Mammoth 24 V Power Cord | M-034-005546-00
91 | Chen Leshu | Mammoth 48 V Power Cord | M-034-005547-00
92 | Chen Leshu | Mammoth AC Board - Power Supply | M-034-005548-00
93 | Chen Leshu | Mammoth PM-J30 - Power Supply | M-034-005727-00
94 | Chen Leshu | Mammoth Monitor USB Cable | M-034-005562-00
95 | Chen Leshu | Mammoth BCS-VGA Extension Cable | M-034-005565-00
96 | Chen Leshu | Mammoth-Chuck-A-CAN | M-034-005566-00
97 | Chen Leshu | Mammoth-Chuck-B-CAN | M-034-005567-00
98 | Chen Leshu | Mammoth-Chuck-C-CAN | M-034-005568-00
99 | Chen Leshu | Mammoth-Chuck-D-CAN | M-034-005569-00
100 | Chen Leshu | Mammoth-PM-CAN | M-034-005570-00
101 | Chen Leshu | Mammoth Optical Board - CAN | M-034-005574-00
102 | Chen Leshu | Mammoth Heat Sink B-CAN | M-034-005577-00
103 | Chen Leshu | Mammoth Laser Communication Cable | M-034-005578-00
104 | Chen Leshu | Mammoth Flow Cell Drive Board - CAN | M-034-005581-00
105 | Chen Leshu | Mammoth Reagent Compartment A - CAN | M-034-005583-00
106 | Chen Leshu | Mammoth Reagent Compartment B - CAN | M-034-005584-00
107 | Chen Leshu | Mammoth Reagent Compartment C - CAN | M-034-005585-00
108 | Chen Leshu | Mammoth Reagent Compartment D - CAN | M-034-005586-00
109 | Chen Leshu | Mammoth Compartment Door Panel - CAN | M-034-005745-00
110 | Chen Leshu | Mammoth Heat Sink A-CAN | M-034-005746-00
111 | Chen Leshu | Mammoth SBC Extension Cable | M-034-005794-00
112 | Chen Leshu | Mammoth SBC - CANFD Network Cable | M-034-005747-00
113 | Chen Leshu | Mammoth Network Cable 1.5 m | M-034-005748-00
114 | Chen Leshu | Mammoth BCS-LAN Extension Cable | M-034-005564-00
115 | Chen Leshu | Mammoth SBC - LAN Extension Cable | M-034-005573-00
116 | Chen Leshu | Mammoth Switch - LAN Extension Cable | M-034-005744-00
117 | Chen Leshu | HDMI Cable | M-034-006129-00
118 | Chen Leshu | USB3.0 | M-034-005912-00
119 | Chen Leshu | LC-LC Duplex Coupler | M-034-005913-00
120 | Chen Leshu | Optical Fiber | M-034-005914-00
121 | Chen Leshu | USB 3.0 Cable | M-034-006128-00
122 | Chen Leshu | USB 3.0 Extension Cable A | M-034-005916-00
123 | Chen Leshu | USB 3.0 Extension Cable B | M-034-005917-00
124 | Chen Leshu | Mammoth PT100-PCR - Outsourcing | M-033-000380-00
125 | Chen Leshu | Mammoth PT100 Chuck - Outsourcing | M-033-000381-00
126 | Chen Leshu | Mammoth Solenoid Valve A1 - Outsourcing | M-033-000385-00
127 | Chen Leshu | Mammoth Solenoid Valve A2 - Outsourcing | M-033-000386-00
128 | Chen Leshu | Mammoth Solenoid Valve B1 - Outsourcing | M-033-000387-00
129 | Chen Leshu | Mammoth Solenoid Valve B2 - Outsourcing | M-033-000388-00
130 | Chen Leshu | Mammoth Solenoid Valve BP - Outsourcing | M-033-000389-00
131 | Chen Leshu | Mammoth Chuck Motor - Outsourcing | M-033-000307-00
132 | Chen Leshu | Mammoth Water Cooling Pump - Outsourcing | M-033-000319-00
133 | Chen Leshu | Mammoth Water Cooling Fan - Outsourcing | M-033-000320-00
134 | Chen Leshu | Mammoth Liquid Level Sensor - Outsourcing | M-033-000321-00
135 | Chen Leshu | Mammoth - Vacuum Pump - Outsourcing | M-033-000322-00
136 | Chen Leshu | Mammoth - Pneumatic Solenoid Valve - Outsourcing | M-033-000318-00
137 | Chen Leshu | Mammoth 951 Flow Cell Drive Sensor - Outsourcing | M-033-000504-00
138 | Chen Leshu | Mammoth Flow Cell Position Sensor - Outsourcing | M-033-000505-00
139 | Chen Leshu | Mammoth Waste Flow Cell Sensor - Outsourcing | M-033-000506-00
140 | Chen Leshu | Mammoth Flow Cell Drive Motor - Outsourcing | M-033-000408-00
141 | Chen Leshu | Mammoth 951 Sensor - Outsourcing | M-033-000301-00
142 | Chen Leshu | Mammoth 954 Sensor - Outsourcing | M-033-000303-00
143 | Chen Leshu | Mammoth MDA Temperature Control Fan - Outsourcing | M-033-000310-00
144 | Chen Leshu | Mammoth Rotating Electrical Motor - Outsourcing | M-033-000317-00
145 | Chen Leshu | Mammoth Reagent Compartment PT100 - Outsourcing | M-033-000326-00
146 | Chen Leshu | Mammoth Reagent Compartment Micro Switch - Outsourcing | M-033-000392-00
147 | Chen Leshu | Mammoth Reagent Compartment Electronic Lock - Outsourcing | M-033-000393-00
148 | Chen Leshu | Mammoth Reagent Compartment Solenoid Valve - Outsourcing | M-033-000394-00
149 | Chen Leshu | Mammoth MDA Tube Sensor - Outsourcing | M-033-000421-00
150 | Chen Leshu | Mammoth In-Position Sensor - Outsourcing | M-033-000422-00
151 | Chen Leshu | Mammoth Diaphragm Liquid Pump - Outsourcing | M-033-000423-00
152 | Chen Leshu | Mammoth Waste Liquid Board 951 Sensor - Outsourcing | M-033-000332-00
153 | Chen Leshu | Mammoth Waste Liquid Board Electromagnetic Lock - Outsourcing | M-033-000335-00
154 | Chen Leshu | Mammoth Waste Liquid Board Weighing Sensor - Outsourcing | M-033-000336-00
155 | Chen Leshu | Mammoth Micro Switch - Outsourcing | M-033-000390-00
156 | Chen Leshu | Mammoth Waste Liquid Solenoid Valve - Outsourcing | M-033-000396-00
157 | Chen Leshu | Mammoth Peristaltic Pump - Outsourcing | M-033-000325-00
158 | Chen Leshu | Mammoth Diaphragm Liquid Pump - Outsourcing | M-033-000423-00
159 | Chen Leshu | Mammoth Speaker - Outsourcing | M-033-000399-00
160 | Chen Leshu | Mammoth Flow Cell Drive Button - Outsourcing | M-033-000400-00
161 | Chen Leshu | Mammoth SBC Switch - Outsourcing | M-033-000401-00
162 | Chen Leshu | Mammoth Whole Unit Cooling Fan - Outsourcing | M-033-000316-00
163 | Chen Leshu | Mammoth Centrifugal Fan - Outsourcing | M-033-000323-00
164 | Chen Leshu | Mammoth - Pneumatic Solenoid Valve - Outsourcing | M-033-000318-00
165 | Chen Leshu | Mammoth - Vacuum Pump - Outsourcing | M-033-000322-00
166 | Chen Leshu | Mammoth Compartment Door Electronic Lock - Outsourcing | M-033-000424-00
167 | Chen Leshu | Mammoth Dust Removal Net 951 Sensor - Outsourcing | M-033-000426-00
168 | Chen Leshu | Mammoth Vacuum Pump B - Outsourcing | M-033-000464-00

## Hardware
DNBSEQ-T7+ Device Master Records - Electronics
Circuit Schematic Diagram
No. | Document Name | Document No.
1 | MAMMOTH PM BOARD V2.1.1 | S-055-000383-00
2 | Mammoth COOLING Control Board V3.0.0 | S-055-000384-00
3 | Mammoth CORE DRIVER V4.0.1 | S-055-000385-00
4 | Mammoth RW_module V3.0.0 | S-055-000386-00
5 | Mammoth TEC Drive Board V3.0.0 | S-055-000388-00
6 | Mammoth Chuck Module Control Board V2.1.1 | S-055-000389-00
7 | Mammoth fluid_module V2.1.1 | S-055-000390-00
8 | Mammoth Optics V2.0.0 | S-055-000391-00
9 | Mammoth Liquid waste module V3.0.0 | S-055-000392-00
10 | Mammoth AC DISTRIBUTION BOARD V2.0.0 | S-055-000393-00
11 | Mammoth XYZ driver V2.0.1 | S-055-000429-00
12 | Mammoth DOOR_DRIVER V1.0.1 | S-055-000430-00
13 | Mammoth SENSOR V1.0.0 | S-055-000444-00
14 | Mammoth MM_USB3 V2.1.0 | S-055-000445-00
15 | CABINET RFID BOARD V1.0.0 | S-055-000446-00
16 | DM UsbSpeakerDriverBoard V1.0.0 | S-055-000431-00
17 | GPLAN HUMIDITY BOARD V1.0.3 | S-055-000405-00
PCB Document
No. | Document Name | Document No.
1 | MAMMOTH PM BOARD V2.1.1.2 | P-055-000383-00
2 | Mammoth COOLING Control Board V3.0.0.0 | P-055-000384-00
3 | Mammoth CORE DRIVER V4.0.1.0 | P-055-000385-00
4 | Mammoth RW_module V3.0.0.0 | P-055-000386-00
5 | Mammoth TEC Drive Board V3.0.0.0 | P-055-000388-00
6 | Mammoth Chuck Module Control Board V2.1.1.0 | P-055-000389-00
7 | Mammoth fluid_module V2.1.1.1 | P-055-000390-00
8 | Mammoth Optics V2.0.0.0 | P-055-000391-00
9 | Mammoth Liquid waste module V3.0.0.0 | P-055-000392-00
10 | Mammoth AC DISTRIBUTION BOARD V2.0.0.0 | P-055-000393-00
11 | Mammoth XYZ driver V2.0.1.0 | P-055-000429-00
12 | Mammoth DOOR_DRIVER V1.0.1.0 | P-055-000430-00
13 | Mammoth SENSOR V1.0.0.0 | P-055-000444-00
14 | Mammoth MM_USB3 V2.1.0 | P-055-000445-00
15 | CABINET RFID BOARD V1.0.0.0 | P-055-000446-00
16 | DM UsbSpeakerDriverBoard V1.0.0.0 | P-055-000431-00
17 | GPLAN HUMIDITY BOARD V1.0.3.0 | P-055-000405-00

## Software
DNBSEQ-T7+ Device Master Records - Software
No. | Owner | Document Name | Document No.
1 | Lu Jing | MM - Basecall Software | G-970-000551-00
2 | Su Weichuan | Mammoth Whole Unit Controller Firmware | G-970-000565-00
3 | Wu Hao | DNBSEQ-T7+ Software Package | G-970-000570-00
4 | Peng Desheng | Mammoth Motion Controller Firmware | G-970-000575-00
5 | Chen Guangsen | Mammoth Dell BCS Server System Image | G-970-000577-00
6 | Peng Desheng | ACS Controller 3.12 | 970-000594-00

## Accessories
DNBSEQ-T7+ Device Master Records - Annexes
No. | Owner | Document Name | Document No.
1 | Xie Jinxian | DNBSEQ-T7+RS Genetic Sequencer System Guide_Chinese_RUO_WH | H-020-001145-00
2 | Xie Jinxian | DNBSEQ-T7+RS Genetic Sequencer System Guide_English_RUO_WH | H-020-001143-00
3
4
5
6
7
8

## BOM
DNBSEQ-T7+ Device Master Records - BOM
No. | Document Name | Document No.
1 | DNBSEQ-T7+RS Genetic Sequencer Whole Unit Product BOM-CHN_WH | BM-900-001103-00
| DNBSEQ-T7+ Accessories BOM | BM-D22P0016-CTO-FL
| DNBSEQ-T7+(1:1) Genetic Sequencer Prototype BOM | BM-900-001130-00
| MM - Exhibition Machine - Small | BM-012-001380-00

## Production Process
DNBSEQ-T7+ Device Master Records - Production Process
Assembly, Commissioning, and Packaging Process Documents
No. | Owner | Name | Document No.
1 | Zhao Yijie | MM - Power Module Assembly Process | I-510-003977-00
2 | Pi Xiaogen | MM - Standby Pump Module Assembly Process | I-510-003934-00
3 | Pi Xiaogen | MM - Biochemical Chuck Vacuum Module Assembly Process | I-510-003933-00
4 | Pi Xiaogen | MM - ImageChuck Vacuum Module Assembly Process | I-510-003932-00
5 | Zhao Yijie | MM - Transfer Module Assembly Process | I-510-003930-00
6 | Pi Xiaogen | MM - Fluidics Module Assembly Process | I-510-003929-00
7 | Zhao Yijie | MM - Biochemical Chuck Module Assembly Process | I-510-003928-00
8 | Zhao Yijie | MM - Controller Driver Module Assembly Process | I-510-003925-00
9 | Zhao Yijie | MM - Power Module Debugging Process | D-510-003977-00
10 | Pi Xiaogen | MM - Biochemical Chuck Vacuum Module and Standby Pump Module Debugging Process | D-510-003933-00
11 | Pi Xiaogen | MM - ImageChuck Vacuum Module Debugging Process | D-510-003932-00
12 | Pi Xiaogen | MM - Fluidics Module Debugging Process | D-510-003929-00
13 | Pi Xiaogen | MM - Biochemical Chuck Module Debugging Process | D-510-003928-00
14 | Zhao Yijie | MM - Controller Driver Module Debugging Process | D-510-003925-00
15 | Liu Wang | DNBSEQ-T7+ Whole Unit Assembly Process | I-510-003935-00
16 | Liu Wang | DNBSEQ-T7+ Whole Unit Wiring Process | I-510-003935-00-01
17 | Liu Wang | DNBSEQ-T7+ Whole Unit Piping and Wiring Process | I-510-003935-00-02
18 | Liu Wang | DNBSEQ-T7+ Whole Unit Shell Assembly Process | I-510-003935-00-03
19 | Pi Xiaogen | MM - Board Firmware Programming Process | D-011-003929-00
20 | Ji Jia | DNBSEQ-T7+ Whole Unit Debugging Process | D-510-003935-00
21 | Ji Jia | MM - BCS System Installation and Debugging Process | D-510-003935-00-01
22 | Ji Jia | MM - Camera Capture Card Installation and Firmware Upgrade Process | D-510-003935-00-02
23 | Ji Jia | DNBSEQ-T7+ Software Installation Process | D-510-003935-00-03
24 | Ji Jia | DNBSEQ-T7+ Debugging Process | D-510-003935-00-04
25 | Ji Jia | DNBSEQ-T7+ Module Debugging and Position Learning Process | D-510-003935-00-05
26 | Ji Jia | DNBSEQ-T7+ Optical Module Debugging Process | D-510-003935-00-06
FQC Inspection, Packaging and OQC
No. | Owner | Name | Document No.
| Liu Wang | DNBSEQ-T7+ Whole Unit Packaging Process | I-900-001103-00
1 | Liu Wang | DNBSEQ-T7+ FQC Inspection Process | Q-900-001103-00
2 | Liu Wang | DNBSEQ-T7+ Safety Test Operation Specification | Q-900-001103-00-01
3 | Liu Wang | General Appearance Inspection Specification for Genetic Sequencer | Q-T-002-10
4 | Liu Wang | General Inspection Specification for Whole Unit Packaging | Q-T-001-10
5 | Liu Wang | DNBSEQ-T7+ Whole Unit OQC Inspection Process | Q-900-001103-00-02
6 | Liu Wang | T7+ Checklist | Q-900-001103-00-R03
7 | Liu Wang | DNBSEQ-T7+RS Packaging List (Chinese) | I-900-001103-00-R02
8 | Liu Wang | DNBSEQ-T7+ Final Quality Inspection Report | Q-900-001103-00-R02
Production Flow Chart
No. | Owner | Name | Document No.
1 | Liu Wang | DNBSEQ-T7+ Genetic Sequencer Production Flow Chart | F-900-001103-00
Programming Process
No. | Owner | Name | Document No.
1 | Pi Xiaogen | MM - Board Firmware Programming Process | D-011-003929-00
Sheet
No. | Owner | Name | Document No.
1 | Zhao Yijie | MM - Power Module Production Record Form | I-510-003977-00-R01
2 | Pi Xiaogen | MM - Standby Pump Module Production Record Form | I-510-003934-00-R01
3 | Pi Xiaogen | MM - Biochemical Chuck Module Production Record Form | I-510-003933-00-R01
4 | Pi Xiaogen | MM - ImageChuck Vacuum Module Production Record Form | I-510-003932-00-R01
5 | Zhao Yijie | MM - Transfer Module Production Record Form | I-510-003930-00-R01
6 | Pi Xiaogen | MM - Fluidics Module Production Record Form | I-510-003929-00-R01
7 | Zhao Yijie | MM - Biochemical Chuck Module Production Record Form | I-510-003928-00-R01
8 | Zhao Yijie | MM - Controller Driver Module Record Form | I-510-003925-00-R01
9 | Pi Xiaogen | MM - Board Firmware Programming Record Form | D-011-003929-00-R01
10 | Liu Wang | DNBSEQ-T7+ Whole Unit Assembly Record Form | I-510-003935-00-R01
11 | Ji Jia | DNBSEQ-T7+ Whole Unit Debugging Record Form | D-510-003935-00-R01
12 | Liu Wang | DNBSEQ-T7+ Safety Test Inspection Record Form | Q-900-001103-00-01-R01
13 | Pi Xiaogen | MM - Board Firmware Programming Record Form | D-011-003929-00-R01
14 | Ji Jia | DNBSEQ-T7+ Optical Debugging Data Record Form | D-510-003935-00-06-R01
15 | Ji Jia | DNBSEQ-T7+ Fluidics Weighing Test Record Form | D-510-003935-00-R02
16 | Liu Wang | DNBSEQ-T7+ FQC Inspection Record Form | Q-900-001103-00-R01
17 | Liu Wang | DNBSEQ-T7+ Safety Test Inspection Record Form | Q-900-001103-00-01-R01
18 | Liu Wang | DNBSEQ-T7+ OQC Inspection Record Form | Q-900-001103-00-02-R01
19 | Liu Wang | DNBSEQ-T7+ Whole Unit Packaging Record Form | I-900-001103-00-R01

## IQC Inspection
DNBSEQ-T7+ Device Master Records - IQC Inspection
Incoming Inspection
No. | Owner | Document Name | Document No.
1 | Hu Yukang | DNBSEQ-T7 IO Board IQC Inspection Process | Q-055-000097-00
2 | Hu Yukang | DNBSEQ-T7 LT Board IQC Inspection Process | Q-055-000098-00
3 | Hu Yukang | DNBSEQ-T7 PD Board IQC Inspection Process | Q-055-000099-00
4 | Hu Yukang | General IQC Inspection Process for Temperature Control Board | Q-055-000013-00
5 | Hu Yukang | Mammoth BCS IQC Inspection Process | Q-057-000661-00
6 | Hu Yukang | Mammoth Advantech SBC IQC Inspection Process | Q-057-000730-00
7 | Hu Yukang | MM - IQC Inspection Process for Visual Industrial Camera | Q-060-000277-00
8 | Hu Yukang | MM - IQC Inspection Process for Light Source and Light Source Controller | Q-060-000278-00
9 | Hu Yukang | General IQC Inspection Process for Prime Lens | Q-060-000280-00
10 | Hu Yukang | MM - IQC Inspection Process for Laser | Q-060-000293-00
11 | Hu Yukang | IQC Inspection Process for Liquid Pressure Sensors | Q-070-000534-00
12 | Hu Yukang | IQC Inspection Process for 1 mL Piston Pump | Q-070-000572-00
13 | Hu Yukang | T7 - Specification for Incoming Inspection reagent cartridge vial kits | Q-510-003144-00
14 | Hu Yukang | General Appearance Inspection Specification | Q-T-002-10
15 | Hu Yukang | General Appearance Inspection Process for Electronic Materials | Q-T-008
16 | Hu Yukang | Optical Lens Appearance Inspection Process | Q-T-010-10
17 | Hu Yukang | General Inspection Specification for Purchased Standard Parts | Q-T-016
18 | Hu Yukang | Cable Material IQC Inspection Process | Q-T-017
19 | Hu Yukang | General Inspection Specification for Metal Structure Materials (Outsourcing) | Q-T-023
20 | Hu Yukang | General PCBA Appearance Inspection Process | Q-T-029
21 | Hu Yukang | General IQC Inspection Process and Drawings for Accessories | Q-T-069
22 | Hu Yukang | General Inspection Specification for Fans | Q-T-426
23 | Hu Yukang | General IQC Inspection Process for Vacuum Pumps | Q-T-446
24 | Hu Yukang | General IQC Inspection Process for Objective Lens | Q-T-458
25 | Hu Yukang | General IQC Inspection Process for Cylinder Lens | Q-T-459
26 | Hu Yukang | General IQC Inspection Process for Sensor Test Platform | Q-T-486
27 | Hu Yukang | MM Incoming Inspection Specification for Mechanical Clamping Module | Q-014-000516-00
29 | Hu Yukang | MM - Incoming Inspection Specification for Reagent Compartment Module | Q-014-000579-00
30 | Hu Yukang | MM - Incoming Inspection Specification for Waste Container Compartment | Q-014-000586-00
31 | Hu Yukang | MM - Incoming Inspection Specification for Water Cooling Module AB | Q-014-000735-00
33 | Hu Yukang | MM - Incoming Inspection Specification for Flow Cell Drive Module | Q-014-000801-00
34 | Hu Yukang | MM - Incoming Inspection Specification for Reagent Cartridge | Q-T-522
35 | Hu Yukang | MM - Incoming Inspection Specification for Water Cooling Module CD | Q-014-000736-00

## Tooling
DNBSEQ-T7+ Device Master Records - Tooling
Tooling
No. | Owner | Name | Document No.
1 | Zhao Yijie | MM - Vacuum&ACS Module Test Tooling | D22P0016-TF04
2 | Zhao Yijie | MM - Fluidics&Power Module Test Tooling | D22P0016-TF02
3 | Zhao Yijie | MM - Biochemical Chuck Test Tooling | D22P0016-TF03
4 | Zhao Yijie | MM - Optical Tooling | D22P0016-TF01
5 | Zhao Yijie | Semi Automatic Water Cooling Tube Insertion Machine | D22P0016-TF05
6 | Zhao Yijie | MM - TEC Limit Tooling | D22P0016-TF08
7 | Zhao Yijie | MM - Adsorption Plate Limit Tooling | D22P0016-TF07
9 | Zhao Yijie | MM - PCR Auxiliary Installation Block 1 | D22P0016-TF10
10 | Zhao Yijie | MM - PCR Auxiliary Installation Block 2 | D22P0016-TF12
11 | Zhao Yijie | MM - PT100 Pool | D22P0016-TF09
12 | Zhao Yijie | MM - Manifold Wire Inspection Tooling | D22P0016-TF11
15 | Zhao Yijie | MM - Camera Signal Joint Wrench | 010-007699-00
18 | Zhao Yijie | Fluidics Weighing Reagent Cartridge | 012-001340-00
19 | Zhao Yijie | MM - Cleaning Cartridge Weighing Tool | 012-001336-00
20 | Zhao Yijie | MM - Pump Liquid Precision Weighing Support | 012-001333-00
21 | Zhao Yijie | MM - Optical Test Tooling Instructions | Z-D22P0016-TF01
22 | Zhao Yijie | MM - Biochemical Chuck Test Tooling Instructions | Z-D22P0016-TF03
23 | Zhao Yijie | MM - Fluidics&Power Module Test Tooling Instructions | Z-D22P0016-TF02
24 | Zhao Yijie | MM - Vacuum&ACS Module Test Tooling Instructions | Z-D22P0016-TF04
38 | Zhao Yijie | 10 mm Open-end Wrench Head - Thin 3 mm | M-010-007735-00
39 | Zhao Yijie | Pneumatic Screwdriver Socket | M-010-007734-00
43 | Yan Yuyi | Power Meter Probe Holder | 011-004101-00
44 | Zhou Maoshun | MM - Make Insert Base | 010-007681-00
45 | Zhou Maoshun | MM - Primer Insert Base | 010-007682-00
46 | Zhou Maoshun | MM - ImageChuck Learning Flow Cell | 010-007680-00
47 | Zhao Yijie | Tubing Cap Wrench - dual-use | M-1110-J02
Tooling List
1 | Zhao Yijie | DNBSEQ-T7+ Product and Tooling List | Z-900-001103-00

## Tooling (2) (hidden)
MGISEQ-2000 Device Master Records - Tooling
Tooling
No. | Name | Document No.
1 | Temperature Calibration Fixture (including probe) | 1120-J01
2 | F-356X Joint Wrench | 1120-J02
3 | Universal Temperature Control Board Test Tooling | 1110-TF
4 | V2 - Interface Board Test Tooling | 1120-TF01
5 | V2 - Reagent Storage Component Test Tooling | 1120-TF02
6 | V2 - Comprehensive Test Tooling | 1120-TF03